University of Central Florida

Minor Fire Alarm Service Clean Agent or Early Detection

# Personnel Training Overview

Personnel to be provided with adequate training to perform the specified duties outlined below for the Clean Agent and/or Early Detection System and associated controls.  A new sheet is to be filled out for each refresher review or for those reviews where new skill sets are added. Send original form to the EH&S Fire Safety Coordinator PP 102, keep departmental copies as needed.

Physical Plant authorization, additional training, and a separate form is required if the building main fire alarm systems requires interface.

Please Print:

| UCF Employee Name: | ID #: |
| --- | --- |
| Date of Training: | UCF Department: |
| Instructor Name: | Inst. Company: |

Type of Clean Agent System:

Type of Early Detection System:

Location of System (s) Employee is Permitted to Access:

| ## Task | ## Satisfactory | Employee Initial | Instructor Initial |
| --- | --- | --- | --- |
| Basic |  |  |  |
| Explained how to read system LED display and address maps to identify device and location. Any discrepancies discovered to be noted and forwarded for appropriate program update. |  |  |  |
| Explained location of emergency stop buttons and how they function. Fill in delay countdown time here: |  |  |  |
| Explained how to reset false alarms after confirmed by the appropriate authority. |  |  |  |
| Explained how to log ALL repairs and incidents in the system logbook. |  |  |  |
| Explained how to call for Physical Plant when main building FACP is effected. |  |  |  |
| Explained recommended frequency of maintenance and inspection types and authorized individuals to be performing the same. Physical Plant to coordinate appointments by the chosen service vendor. |  |  |  |
| Explained recommended frequency for department/user inspections and what is to be covered. A log\checklist is recommended. |  |  |  |
| Explained how to call for fire watch if pre-action sprinkler will be off line for any reason. Report same to Fire Safety Coordinator. |  |  |  |
| Explained process for fire drills where appropriate. |  |  |  |
| Necessary personnel to be provided with keys and manuals as needed to perform duties and maintenance. Indicate who has or where manuals and keys are to be located: |  |  |  |
| Department to establish an action plan for ventilation of the space after discharge. This will need to include resetting alarms, restarting of the HVAC units, obtaining portable fans, running vent lines, etc. Consideration should be given to availability of outside personnel and equipment. Action plan is located or attached here: |  |  |  |
| MSDS’s for agent is provided for review during training and is to be maintained on site, preferably outside the protected rooms. MSDS”s are located here: |  |  |  |

Minor Fire Alarm Service Clean Agent or Early Detection Personnel Training Overview  Page 2

| System Discharge |  |  |  |
| --- | --- | --- | --- |
| Explained how room visibility is obscured when system discharges. Consider practice drills with shrouded sight, installing floor stripes to lead to exits, operation of door hardware without looking, etc. |  |  |  |
| Explained prompt evacuation of the area with eminent discharge. |  |  |  |
| Explained the need to develop a plan for the rescue of trapped individuals. |  |  |  |
| Explained the potential hazards associated with the agent and how to respond to areas where discharge has occurred. Outline where SCBA is required. |  |  |  |

| Other: |  |  |  |
| --- | --- | --- | --- |
| Other: |  |  |  |
| Other: |  |  |  |
| Outline any special employee duties here: |  |  |  |

By signing the below the employee and supervisor agree that the employee has adequately demonstrated the skills checked off above to be performed under the scope of normal work duties.

|  | Signature | Date |
| --- | --- | --- |
| Employee |  |  |
| Supervisor |  |  |

Attach additional checklists or details as needed.

Notes: