University of Central Florida

Minor Fire Alarm Service

# Personnel Training Overview DSO and Vendor Employees

Designated maintenance representatives to be provided with adequate training to perform only the specified fire alarm duties outlined and checked below.  A new sheet is to be filled out for each refresher review or for those reviews where new skill sets area added. Send original form to the EH&S Fire Safety Coordinator PP 102, keep departmental copies as needed. Staff performing fire drills to complete the “*” items.

Please Print:

| Employee Name: | ID #: |
| --- | --- |
| Date of Training: | DSO/Employer: |
| Instructor Name: | Inst. Company: |
| Type of Fire Alarm System Covered: |  |

| ## Task | ## Satisfactory | Employee Initial | Instructor Initial |
| --- | --- | --- | --- |
| Basic |  |  |  |
| *Explained how to initiate and reset alarms for fire drill exercises. |  |  |  |
| *Explained how to reset pull stations. |  |  |  |
| *Explained how to make voice announcements (if applicable). |  |  |  |
| Explained how to reset false alarms after confirmed by the appropriate authority. |  |  |  |
| Explained how to read system LED display and address maps to identify device and location. Any discrepancies discovered to be noted and forwarded for appropriate program update. |  |  |  |
| Explained how to log ALL repairs and incidents in the system logbook. |  |  |  |
| Advanced |  |  |  |
| Explained how to properly fill out and affix a panel tag to the inside of the panel to indicate ALL local services performed. |  |  |  |
| Explained how to clean, reinstall and or swap dirty detector heads only (not bases). |  |  |  |
| Explained how to replace and date batteries. |  |  |  |
| Explained how to reset smoke evac systems where applicable. |  |  |  |
| Explained how to program out a troubled device which may include the following: - Call for fire watch if lack of device will cause a major impairment of building coverage. - Call for outside vendor services. - Call AHJ to report system impairment. |  |  |  |
| Explained how to bypass limited devices to accommodate ongoing contractor work in the facility. Provide and/or verify fire watch provided until system is returned to normal condition. Transfer and log responsibility of systems bypassed at shift changes. |  |  |  |
| Explained what is Alarm Verification, Positive Alarm Sequence, and how to do how to do runner services. |  |  |  |
| Explained how to reinstall whole damaged detectors and bases. |  |  |  |
| Explained how to check for system shorts or lightning damage. |  |  |  |

By signing the below the employee and supervisor agree that the employee has adequately demonstrated the skills checked off above to be performed under the scope of normal work duties.

|  | Signature | Date |
| --- | --- | --- |
| Employee |  |  |
| Supervisor |  |  |