UCF Annual Fire/Smoke Vent Checklist

UCF Building, #:

______________________________________

Building Equipment Summary:

Smoke Vent Location(s): ___________________________________

___________________________________

___________________________________

___________________________________

Total number of Vents:

Type (circle applicable):

Single Leaf Vent

Dual Leaf Vent

and

Normally Closed

Normally Open

Additional attachments if any:

Releasing Mechanism (circle applicable):

Fusible Link

Motor

Other:

Last known date of link replacement:______________

<Fusible Links are to be replaced if painted or show unusual build up or discoloration.  They are good for no more than 5 years.>

Ref. NFPA 80

Inspection

Overall Condition (Inside and Outside)

(CHECK IF SATISFACTORY)

- Door seals in tack, no leaks.

- Hinges clean, no problematic paint or rust.

- Door Panels clean no rust.

- Area is clear to allow air passage.

- No foreign restraints or cables installed.

- Fusible link clean and within date.

- Hardware examined and in good condition.

- Cables or chains properly tensioned and do not appear stretched.

- Guides bearings, and hinges well lubricated.

- Doors satisfactorily operated to full open position. Area outside is clear.

- Hang inspection tag at location.

Comment of service provided or needed: _____________________________________

_____________________________________

_____________________________________

_____________________________________

(Complete new form and hang new tag after repairs if any are needed.)

Service provided by:

__________________________________

Date:

__________________________________

Return Copy to EH&S PP102

Vent Inspection Tag

Number of Vents This Area __________

Date______________

By______________________________

Found Satisfactory

Repair in progress